## Summary
Test Settings
Name | F22WS1N4
Pressure Head 1 (cm) | 5
Pressure Head 2 (cm) | 20
Soak Time (min) | 30
Pressure Cycles | 3
Hold Time (min) | 25
Insertion Depth (cm) | 5
Run Time (min) | 180
Infiltrometer Settings
SATURO Serial | SAT00002468
Firmware Version | DHI 1.07.10 9b9f4df2
Hardware Version | 1
Battery | 77%
Test Results
Raw Records | 180
First Record ID | 0
Start Time | 14 Oct 2022 12:23 PM
Stop Time | 14 Oct 2022 03:23 PM
Kfs (cm/s) | 0.0003892
Kfs Error (cm/s) | 1.658e-05

## Raw Data
Record ID | Time (min) | Water Level (cm) | Pressure (cm) | Flux (cm/s) | Volume (mL/s)
0 | 1 | 4.23 | 5.381 | 0.002015 | 0.36757
1 | 2 | 4.98 | 4.806 | 0.001562 | 0.28493
2 | 3 | 4.99 | 4.852 | 0.001718 | 0.31339
3 | 4 | 4.98 | 4.86 | 0.001718 | 0.31339
4 | 5 | 4.98 | 4.878 | 0.001796 | 0.32762
5 | 6 | 4.98 | 4.885 | 0.001718 | 0.31339
6 | 7 | 4.98 | 4.88 | 0.00164 | 0.29916
7 | 8 | 4.99 | 4.875 | 0.001562 | 0.28493
8 | 9 | 4.99 | 4.895 | 0.00164 | 0.29916
9 | 10 | 4.99 | 4.911 | 0.001562 | 0.28493
10 | 11 | 4.99 | 4.887 | 0.001406 | 0.25648
11 | 12 | 4.99 | 4.882 | 0.001562 | 0.28493
12 | 13 | 4.99 | 4.888 | 0.001484 | 0.2707
13 | 14 | 4.99 | 4.91 | 0.001562 | 0.28493
14 | 15 | 4.99 | 4.895 | 0.001406 | 0.25648
15 | 16 | 4.99 | 4.912 | 0.001562 | 0.28493
16 | 17 | 4.99 | 4.92 | 0.00164 | 0.29916
17 | 18 | 4.99 | 4.918 | 0.001484 | 0.2707
18 | 19 | 4.99 | 4.917 | 0.001484 | 0.2707
19 | 20 | 4.99 | 4.917 | 0.001406 | 0.25648
20 | 21 | 4.99 | 4.964 | 0.001484 | 0.2707
21 | 22 | 4.99 | 4.962 | 0.001406 | 0.25648
22 | 23 | 4.99 | 4.945 | 0.001406 | 0.25648
23 | 24 | 4.99 | 4.96 | 0.001484 | 0.2707
24 | 25 | 4.99 | 4.965 | 0.001406 | 0.25648
25 | 26 | 4.99 | 4.977 | 0.001484 | 0.2707
26 | 27 | 4.99 | 4.911 | 0.001172 | 0.21379
27 | 28 | 4.99 | 4.971 | 0.001484 | 0.2707
28 | 29 | 4.99 | 4.972 | 0.001484 | 0.2707
29 | 30 | 4.99 | 4.964 | 0.001406 | 0.25648
30 | 31 | 4.98 | 18.03 | 0.001718 | 0.31339
31 | 32 | 4.98 | 18.323 | 0.002109 | 0.38471
32 | 33 | 4.98 | 18.081 | 0.002109 | 0.38471
33 | 34 | 4.98 | 18.619 | 0.002187 | 0.39894
34 | 35 | 4.98 | 18.884 | 0.002265 | 0.41317
35 | 36 | 4.98 | 18.45 | 0.002265 | 0.41317
36 | 37 | 4.98 | 19.288 | 0.002187 | 0.39894
37 | 38 | 4.98 | 19.41 | 0.002343 | 0.4274
38 | 39 | 4.98 | 19.55 | 0.002265 | 0.41317
39 | 40 | 4.98 | 19.222 | 0.002265 | 0.41317
40 | 41 | 4.98 | 19.206 | 0.002187 | 0.39894
41 | 42 | 4.98 | 19.583 | 0.002265 | 0.41317
42 | 43 | 4.98 | 20.042 | 0.002265 | 0.41317
43 | 44 | 4.98 | 19.942 | 0.002265 | 0.41317
44 | 45 | 4.98 | 19.506 | 0.002265 | 0.41317
45 | 46 | 4.98 | 20.36 | 0.002265 | 0.41317
46 | 47 | 4.98 | 20.151 | 0.002265 | 0.41317
47 | 48 | 4.98 | 19.298 | 0.002187 | 0.39894
48 | 49 | 4.98 | 19.816 | 0.002265 | 0.41317
49 | 50 | 4.98 | 20.92 | 0.002421 | 0.44163
50 | 51 | 4.98 | 20.253 | 0.002343 | 0.4274
51 | 52 | 4.98 | 19.811 | 0.002187 | 0.39894
52 | 53 | 4.98 | 20.71 | 0.002343 | 0.4274
53 | 54 | 4.98 | 19.881 | 0.002109 | 0.38471
54 | 55 | 4.98 | 20.37 | 0.002343 | 0.4274
55 | 56 | 4.98 | 5.562 | 0.001875 | 0.34203
56 | 57 | 4.99 | 4.822 | 0.001484 | 0.2707
57 | 58 | 4.99 | 4.786 | 0.001328 | 0.24225
58 | 59 | 4.99 | 4.803 | 0.001406 | 0.25648
59 | 60 | 4.99 | 4.799 | 0.001328 | 0.24225
60 | 61 | 4.99 | 4.82 | 0.001328 | 0.24225
61 | 62 | 4.99 | 4.837 | 0.001328 | 0.24225
62 | 63 | 4.99 | 4.836 | 0.00125 | 0.22802
63 | 64 | 4.99 | 4.883 | 0.001406 | 0.25648
64 | 65 | 4.99 | 4.852 | 0.001172 | 0.21379
65 | 66 | 4.99 | 4.937 | 0.00125 | 0.22802
66 | 67 | 4.99 | 4.971 | 0.001328 | 0.24225
67 | 68 | 4.99 | 4.941 | 0.00125 | 0.22802
68 | 69 | 4.99 | 4.95 | 0.00125 | 0.22802
69 | 70 | 4.99 | 4.943 | 0.00125 | 0.22802
70 | 71 | 4.99 | 4.946 | 0.001328 | 0.24225
71 | 72 | 4.99 | 4.925 | 0.001172 | 0.21379
72 | 73 | 4.99 | 4.945 | 0.001328 | 0.24225
73 | 74 | 4.99 | 4.946 | 0.00125 | 0.22802
74 | 75 | 4.99 | 4.955 | 0.001172 | 0.21379
75 | 76 | 4.99 | 4.959 | 0.001328 | 0.24225
76 | 77 | 4.99 | 4.944 | 0.001172 | 0.21379
77 | 78 | 4.99 | 4.957 | 0.001172 | 0.21379
78 | 79 | 4.99 | 4.951 | 0.001172 | 0.21379
79 | 80 | 4.99 | 4.94 | 0.00125 | 0.22802
80 | 81 | 4.99 | 16.846 | 0.00164 | 0.29916
81 | 82 | 4.98 | 19.464 | 0.001796 | 0.32762
82 | 83 | 4.98 | 19.801 | 0.001875 | 0.34203
83 | 84 | 4.98 | 18.748 | 0.001875 | 0.34203
84 | 85 | 4.98 | 19.242 | 0.001875 | 0.34203
85 | 86 | 4.98 | 19.774 | 0.001875 | 0.34203
86 | 87 | 4.98 | 19.317 | 0.001875 | 0.34203
87 | 88 | 4.98 | 18.813 | 0.001875 | 0.34203
88 | 89 | 4.98 | 18.645 | 0.001796 | 0.32762
89 | 90 | 4.98 | 19.424 | 0.001875 | 0.34203
90 | 91 | 4.98 | 19.568 | 0.001875 | 0.34203
91 | 92 | 4.98 | 19.736 | 0.001875 | 0.34203
92 | 93 | 4.98 | 18.804 | 0.001875 | 0.34203
93 | 94 | 4.98 | 19.768 | 0.001875 | 0.34203
94 | 95 | 4.98 | 18.995 | 0.001875 | 0.34203
95 | 96 | 4.98 | 19.072 | 0.001875 | 0.34203
96 | 97 | 4.98 | 20.9 | 0.001953 | 0.35626
97 | 98 | 4.98 | 20.394 | 0.002031 | 0.37048
98 | 99 | 4.98 | 20.574 | 0.001953 | 0.35626
99 | 100 | 4.98 | 19.087 | 0.001875 | 0.34203
100 | 101 | 4.98 | 18.986 | 0.001875 | 0.34203
101 | 102 | 4.98 | 20.079 | 0.001875 | 0.34203
102 | 103 | 4.98 | 19.054 | 0.001875 | 0.34203
103 | 104 | 4.98 | 20.992 | 0.001875 | 0.34203
104 | 105 | 4.98 | 19.936 | 0.001875 | 0.34203
105 | 106 | 4.99 | 5.523 | 0.001562 | 0.28493
106 | 107 | 4.99 | 4.884 | 0.001172 | 0.21379
107 | 108 | 4.99 | 4.81 | 0.001093 | 0.19938
108 | 109 | 4.99 | 4.839 | 0.00125 | 0.22802
109 | 110 | 4.99 | 4.811 | 0.001093 | 0.19938
110 | 111 | 4.99 | 4.817 | 0.001172 | 0.21379
111 | 112 | 4.99 | 4.819 | 0.001172 | 0.21379
112 | 113 | 4.99 | 4.847 | 0.00125 | 0.22802
113 | 114 | 4.99 | 4.857 | 0.001172 | 0.21379
114 | 115 | 4.99 | 4.863 | 0.001172 | 0.21379
115 | 116 | 4.99 | 4.87 | 0.001172 | 0.21379
116 | 117 | 4.99 | 4.886 | 0.001172 | 0.21379
117 | 118 | 4.99 | 4.891 | 0.001172 | 0.21379
118 | 119 | 4.99 | 4.892 | 0.001093 | 0.19938
119 | 120 | 4.99 | 4.906 | 0.001093 | 0.19938
120 | 121 | 4.99 | 4.926 | 0.001172 | 0.21379
121 | 122 | 4.99 | 4.94 | 0.00125 | 0.22802
122 | 123 | 4.99 | 4.934 | 0.001093 | 0.19938
123 | 124 | 4.99 | 4.945 | 0.001172 | 0.21379
124 | 125 | 4.99 | 4.946 | 0.001093 | 0.19938
125 | 126 | 4.99 | 4.97 | 0.00125 | 0.22802
126 | 127 | 4.99 | 4.935 | 0.0009373 | 0.17098
127 | 128 | 4.99 | 4.964 | 0.001093 | 0.19938
128 | 129 | 4.99 | 4.964 | 0.001093 | 0.19938
129 | 130 | 4.99 | 4.976 | 0.001172 | 0.21379
130 | 131 | 4.98 | 17.466 | 0.001484 | 0.2707
131 | 132 | 4.98 | 18.528 | 0.001718 | 0.31339
132 | 133 | 4.99 | 18.901 | 0.001484 | 0.2707
133 | 134 | 4.99 | 17.617 | 0.00164 | 0.29916
134 | 135 | 4.99 | 18.07 | 0.001406 | 0.25648
135 | 136 | 4.99 | 19.793 | 0.001718 | 0.31339
136 | 137 | 4.99 | 18.328 | 0.001484 | 0.2707
137 | 138 | 4.99 | 19.474 | 0.001718 | 0.31339
138 | 139 | 4.98 | 19.23 | 0.001796 | 0.32762
139 | 140 | 4.98 | 19.078 | 0.001562 | 0.28493
140 | 141 | 4.99 | 19.466 | 0.001562 | 0.28493
141 | 142 | 4.99 | 20.212 | 0.001718 | 0.31339
142 | 143 | 4.99 | 20.482 | 0.001718 | 0.31339
143 | 144 | 4.99 | 19.877 | 0.001562 | 0.28493
144 | 145 | 4.98 | 19.923 | 0.00164 | 0.29916
145 | 146 | 4.99 | 19.524 | 0.00164 | 0.29916
146 | 147 | 4.99 | 20.125 | 0.00164 | 0.29916
147 | 148 | 4.99 | 19.641 | 0.00164 | 0.29916
148 | 149 | 4.98 | 20.179 | 0.00164 | 0.29916
149 | 150 | 4.99 | 20.676 | 0.001562 | 0.28493
150 | 151 | 4.98 | 20.078 | 0.001718 | 0.31339
151 | 152 | 4.99 | 19.619 | 0.001484 | 0.2707
152 | 153 | 4.98 | 20.53 | 0.001718 | 0.31339
153 | 154 | 4.99 | 20.002 | 0.001562 | 0.28493
154 | 155 | 4.98 | 19.835 | 0.001718 | 0.31339
155 | 156 | 4.99 | 5.34 | 0.001093 | 0.19938
156 | 157 | 4.99 | 4.799 | 0.0009373 | 0.17098
157 | 158 | 4.99 | 4.853 | 0.001172 | 0.21379
158 | 159 | 4.99 | 4.816 | 0.0009373 | 0.17098
159 | 160 | 4.99 | 4.849 | 0.001093 | 0.19938
160 | 161 | 4.99 | 4.857 | 0.001015 | 0.18515
161 | 162 | 4.99 | 4.86 | 0.001015 | 0.18515
162 | 163 | 4.99 | 4.866 | 0.001015 | 0.18515
163 | 164 | 4.99 | 4.869 | 0.001015 | 0.18515
164 | 165 | 4.99 | 4.868 | 0.0009373 | 0.17098
165 | 166 | 4.99 | 4.887 | 0.001015 | 0.18515
166 | 167 | 4.99 | 4.904 | 0.001093 | 0.19938
167 | 168 | 4.99 | 4.899 | 0.001015 | 0.18515
168 | 169 | 4.99 | 4.902 | 0.001015 | 0.18515
169 | 170 | 4.99 | 4.918 | 0.001093 | 0.19938
170 | 171 | 4.99 | 4.904 | 0.0009373 | 0.17098
171 | 172 | 4.99 | 4.93 | 0.001015 | 0.18515
172 | 173 | 4.99 | 4.927 | 0.0009373 | 0.17098
173 | 174 | 4.99 | 4.938 | 0.001015 | 0.18515
174 | 175 | 4.99 | 4.94 | 0.0009373 | 0.17098
175 | 176 | 4.99 | 4.946 | 0.0009373 | 0.17098
176 | 177 | 4.99 | 4.964 | 0.001015 | 0.18515
177 | 178 | 4.99 | 4.969 | 0.001015 | 0.18515
178 | 179 | 4.99 | 4.979 | 0.001015 | 0.18515
179 | 180 | 4.99 | 4.968 | 0.0009373 | 0.17098

## infilt
Time (min) | Pressure (cm) | Flux (cm/s)
1 | 5.381 | 0.002015
2 | 4.806 | 0.001562
3 | 4.852 | 0.001718
4 | 4.86 | 0.001718
5 | 4.878 | 0.001796
6 | 4.885 | 0.001718
7 | 4.88 | 0.00164
8 | 4.875 | 0.001562
9 | 4.895 | 0.00164
10 | 4.911 | 0.001562
11 | 4.887 | 0.001406
12 | 4.882 | 0.001562
13 | 4.888 | 0.001484
14 | 4.91 | 0.001562
15 | 4.895 | 0.001406
16 | 4.912 | 0.001562
17 | 4.92 | 0.00164
18 | 4.918 | 0.001484 | Kfs
19 | 4.917 | 0.001484 | 0.0003892 | cm/sec
20 | 4.917 | 0.001406
21 | 4.964 | 0.001484 | Infiltration
22 | 4.962 | 0.001406 | 0.0015381 | cm/sec
23 | 4.945 | 0.001406
24 | 4.96 | 0.001484
25 | 4.965 | 0.001406
26 | 4.977 | 0.001484
27 | 4.911 | 0.001172
28 | 4.971 | 0.001484
29 | 4.972 | 0.001484
30 | 4.964 | 0.001406
56 | 5.562 | 0.001875
57 | 4.822 | 0.001484
58 | 4.786 | 0.001328
59 | 4.803 | 0.001406
60 | 4.799 | 0.001328
61 | 4.82 | 0.001328
62 | 4.837 | 0.001328
63 | 4.836 | 0.00125
64 | 4.883 | 0.001406
65 | 4.852 | 0.001172
66 | 4.937 | 0.00125
67 | 4.971 | 0.001328
68 | 4.941 | 0.00125
69 | 4.95 | 0.00125
70 | 4.943 | 0.00125
71 | 4.946 | 0.001328
72 | 4.925 | 0.001172
73 | 4.945 | 0.001328
74 | 4.946 | 0.00125
75 | 4.955 | 0.001172
76 | 4.959 | 0.001328
77 | 4.944 | 0.001172
78 | 4.957 | 0.001172
79 | 4.951 | 0.001172
80 | 4.94 | 0.00125
106 | 5.523 | 0.001562
107 | 4.884 | 0.001172
108 | 4.81 | 0.001093
109 | 4.839 | 0.00125
110 | 4.811 | 0.001093
111 | 4.817 | 0.001172
112 | 4.819 | 0.001172
113 | 4.847 | 0.00125
114 | 4.857 | 0.001172
115 | 4.863 | 0.001172
116 | 4.87 | 0.001172
117 | 4.886 | 0.001172
118 | 4.891 | 0.001172
119 | 4.892 | 0.001093
120 | 4.906 | 0.001093
121 | 4.926 | 0.001172
122 | 4.94 | 0.00125
123 | 4.934 | 0.001093
124 | 4.945 | 0.001172
125 | 4.946 | 0.001093
126 | 4.97 | 0.00125
127 | 4.935 | 0.0009373
128 | 4.964 | 0.001093
129 | 4.964 | 0.001093
130 | 4.976 | 0.001172
156 | 5.34 | 0.001093
157 | 4.799 | 0.0009373
158 | 4.853 | 0.001172
159 | 4.816 | 0.0009373
160 | 4.849 | 0.001093
161 | 4.857 | 0.001015
162 | 4.86 | 0.001015
163 | 4.866 | 0.001015
164 | 4.869 | 0.001015
165 | 4.868 | 0.0009373
166 | 4.887 | 0.001015
167 | 4.904 | 0.001093
168 | 4.899 | 0.001015
169 | 4.902 | 0.001015
170 | 4.918 | 0.001093
171 | 4.904 | 0.0009373
172 | 4.93 | 0.001015
173 | 4.927 | 0.0009373
174 | 4.938 | 0.001015
175 | 4.94 | 0.0009373
176 | 4.946 | 0.0009373
177 | 4.964 | 0.001015
178 | 4.969 | 0.001015
179 | 4.979 | 0.001015
180 | 4.968 | 0.0009373